## Rating_challenges
Types | Question no | Main Concepts | Column1 | Column2 | Question | Mean | Standard deviation (SD)
Pulse Oximeter | 1 | Hard Probe |  |  | The probes are hard for children | 1.9091 | 1.2309
| 2 | Size of probe |  |  | The probes are not of accurate size for all children | 3.2273 | 1.6015
| 3 | Longer time |  |  | The pulse oximeters take longer time to give stable reading | 3.1818 | 1.3675
| 4 | Wrong reading |  |  | The pulse oximeters sometimes produce wrong reading | 2.4545 | 1.4385
| 5 | Cleaning |  |  | Difficult to clean the pulse oximeter every time before using on other children | 2.6818 | 1.4924
| 6 | Maintenance |  |  | Maintenance of pulse oximeter is difficult | 2.2727 | 1.4859
| 7 | security |  |  | Ensuring the security of the pulse oximeter is challenging | 2.2273 | 1.5097
| 8 | Battery |  |  | Battery of Pulse Oximeter does not last long | 3.8182 | 1.097
Training section | 9 | Less theoretical sessions |  |  | Less theoretical sessions were conducted on the use of pulse oximetry during the training | 2.2727 | 1.2025
| 10 | Less practical sessions |  |  | Less practical sessions were conducted on the use of pulse oximetry during the training | 2.4545 | 1.3355
| 11 | Practical sessions on adults |  |  | Practical sessions were conducted on adults during the training | 2.5 | 1.4392
| 12 | Importance of using Pulse Oximeter |  |  | The importance of using Pulse Oximeter was not emphasized during the training | 1.6818 | 0.71623
| 13 | User guideline |  |  | No user guideline was provided during the training on Pulse Oximeter | 1.9545 | 1.0901
| 14 | Maintenance guideline |  |  | No guideline was provided during the training on maintenance of Pulse Oximeter | 1.9545 | 1.2141
| 15 | Acceptable reading in case of taking multiple reading |  |  | No guideline was provided during the training on which reading should have taken in case of taking multiple reading | 2.5 | 1.4392
| 16 | Not sure on whom to use |  |  | I am not sure on whom to use pulse oximeter | 1.7727 | 1.3068
Patient problem | 17 | Children crying and frequent moving |  |  | Children crying and moving frequently causing repeated use of pulse oximeter on a single child | 4.1818 | 1.0065
| 18 | Unclean finger/toe |  |  | Sometimes children have unclean finger/toe | 4 | 0.9759
| 19 | Extensive time required to calm down children |  |  | Extensive time required to calm down children before using pulse oximeters | 4.0909 | 1.0193
| 20 | Difficult to use alone |  |  | Difficult to manage children for using pulse oximeter by a single service provider | 4 | 1.3093
Attendent problem | 21 | Waiting |  |  | Difficult to convince attendants of the patient to wait until stable reading is taken by pulse oximeter | 2.5455 | 1.5346
| 22 | Idea on importance |  |  | Attendants of the patient are not aware of the importance of using pulse oximetry | 3.2727 | 1.5486
Environmental problem | 23 | Lack of space |  |  | Difficult to accommodate pulse oximeter along with other logistics and instruments required to provide IMCI service in a single table | 3.1364 | 1.3556
| 24 | Excessive pressure |  |  | High patient load in the IMCI service corners which requires fast patient management | 4.3182 | 1.0414
| 25 | Social Distancing |  |  | Fear of getting infected by Coronavirus during the use of pulse oximeters as social distancing cannot be maintained during measurements | 4.3182 | 1.1705
Service problem | 26 | Less Confident |  |  | Sometimes I have less confidence in using pulse oximeter | 1.7273 | 0.88273
| 27 | Importance of use |  |  | I don’t think using pulse oximeter in IMCI corner is important | 1.5909 | 1.0538
| 28 | Time |  |  | I don’t want to wait for a stable reading | 1.8182 | 1.1396
| 29 | Attention to patient |  |  | I cannot pay proper attention to my patient when I am working with Pulse Oximeter | 2.5 | 1.5961

## Age_greater_35
Table for Age > 35
Types | Question no | Main Concepts | Column1 | Column2 | Question | Mean | Standard deviation (SD)
Pulse Oximeter | 1 | Hard Probe |  |  | The probes are hard for children | 1.6667 | 0.88763
| 2 | Size of probe |  |  | The probes are not of accurate size for all children | 2.5 | 1.5667
| 3 | Longer time |  |  | The pulse oximeters take longer time to give stable reading | 2.9167 | 1.3114
| 4 | Wrong reading |  |  | The pulse oximeters sometimes produce wrong reading | 2 | 1.3484
| 5 | Cleaning |  |  | Difficult to clean the pulse oximeter every time before using on other children | 2.3333 | 1.4355
| 6 | Maintenance |  |  | Maintenance of pulse oximeter is difficult | 2.3333 | 1.6697
| 7 | security |  |  | Ensuring the security of the pulse oximeter is challenging | 2 | 1.4771
| 8 | Battery |  |  | Battery of Pulse Oximeter does not last long | 3.75 | 0.86603
Training section | 9 | Less theoretical sessions |  |  | Less theoretical sessions were conducted on the use of pulse oximetry during the training | 2.25 | 1.1382
| 10 | Less practical sessions |  |  | Less practical sessions were conducted on the use of pulse oximetry during the training | 2.0833 | 1.0836
| 11 | Practical sessions on adults |  |  | Practical sessions were conducted on adults during the training | 2.0833 | 0.9962
| 12 | Importance of using Pulse Oximeter |  |  | The importance of using Pulse Oximeter was not emphasized during the training | 1.75 | 0.86603
| 13 | User guideline |  |  | No user guideline was provided during the training on Pulse Oximeter | 1.8333 | 0.83485
| 14 | Maintenance guideline |  |  | No guideline was provided during the training on maintenance of Pulse Oximeter | 1.6667 | 0.88763
| 15 | Acceptable reading in case of taking multiple reading |  |  | No guideline was provided during the training on which reading should have taken in case of taking multiple reading | 2.25 | 1.3568
| 16 | Not sure on whom to use |  |  | I am not sure on whom to use pulse oximeter | 1.5833 | 0.9962
Patient problem | 17 | Children crying and frequent moving |  |  | Children crying and moving frequently causing repeated use of pulse oximeter on a single child | 3.6667 | 1.0731
| 18 | Unclean finger/toe |  |  | Sometimes children have unclean finger/toe | 3.6667 | 1.0731
| 19 | Extensive time required to calm down children |  |  | Extensive time required to calm down children before using pulse oximeters | 3.8333 | 1.1934
| 20 | Difficult to use alone |  |  | Difficult to manage children for using pulse oximeter by a single service provider | 3.4167 | 1.505
Attendent problem | 21 | Waiting |  |  | Difficult to convince attendants of the patient to wait until stable reading is taken by pulse oximeter | 2.1667 | 1.4035
| 22 | Idea on importance |  |  | Attendants of the patient are not aware of the importance of using pulse oximetry | 2.5 | 1.5076
Environmental problem | 23 | Lack of space |  |  | Difficult to accommodate pulse oximeter along with other logistics and instruments required to provide IMCI service in a single table | 3 | 1.1282
| 24 | Excessive pressure |  |  | High patient load in the IMCI service corners which requires fast patient management | 3.9167 | 1.2401
| 25 | Social Distancing |  |  | Fear of getting infected by Coronavirus during the use of pulse oximeters as social distancing cannot be maintained during measurements | 4 | 1.4771
Service problem | 26 | Less Confident |  |  | Sometimes I have less confidence in using pulse oximeter | 1.8333 | 1.0299
| 27 | Importance of use |  |  | I don’t think using pulse oximeter in IMCI corner is important | 1.5 | 0.90453
| 28 | Time |  |  | I don’t want to wait for a stable reading | 1.6667 | 1.1547
| 29 | Attention to patient |  |  | I cannot pay proper attention to my patient when I am working with Pulse Oximeter | 1.8333 | 1.1934

## AGe_less_35
Age < 35
Types | Question no | Main Concepts | Column1 | Column2 | Question | Mean | Standard deviation (SD)
Pulse Oximeter | 1 | Hard Probe |  |  | The probes are hard for children | 2.2 | 1.5492
| 2 | Size of probe |  |  | The probes are not of accurate size for all children | 4.1 | 1.1972
| 3 | Longer time |  |  | The pulse oximeters take longer time to give stable reading | 3.5 | 1.4337
| 4 | Wrong reading |  |  | The pulse oximeters sometimes produce wrong reading | 3 | 1.4142
| 5 | Cleaning |  |  | Difficult to clean the pulse oximeter every time before using on other children | 3.1 | 1.5239
| 6 | Maintenance |  |  | Maintenance of pulse oximeter is difficult | 2.2 | 1.3166
| 7 | security |  |  | Ensuring the security of the pulse oximeter is challenging | 2.5 | 1.5811
| 8 | Battery |  |  | Battery of Pulse Oximeter does not last long | 3.9 | 1.3703
Training section | 9 | Less theoretical sessions |  |  | Less theoretical sessions were conducted on the use of pulse oximetry during the training | 2.3 | 1.3375
| 10 | Less practical sessions |  |  | Less practical sessions were conducted on the use of pulse oximetry during the training | 2.9 | 1.5239
| 11 | Practical sessions on adults |  |  | Practical sessions were conducted on adults during the training | 3 | 1.7638
| 12 | Importance of using Pulse Oximeter |  |  | The importance of using Pulse Oximeter was not emphasized during the training | 1.6 | 0.5164
| 13 | User guideline |  |  | No user guideline was provided during the training on Pulse Oximeter | 2.1 | 1.3703
| 14 | Maintenance guideline |  |  | No guideline was provided during the training on maintenance of Pulse Oximeter | 2.3 | 1.4944
| 15 | Acceptable reading in case of taking multiple reading |  |  | No guideline was provided during the training on which reading should have taken in case of taking multiple reading | 2.8 | 1.5492
| 16 | Not sure on whom to use |  |  | I am not sure on whom to use pulse oximeter | 2 | 1.633
Patient problem | 17 | Children crying and frequent moving |  |  | Children crying and moving frequently causing repeated use of pulse oximeter on a single child | 4.8 | 0.42164
| 18 | Unclean finger/toe |  |  | Sometimes children have unclean finger/toe | 4.4 | 0.69921
| 19 | Extensive time required to calm down children |  |  | Extensive time required to calm down children before using pulse oximeters | 4.4 | 0.69921
| 20 | Difficult to use alone |  |  | Difficult to manage children for using pulse oximeter by a single service provider | 4.7 | 0.48305
Attendent problem | 21 | Waiting |  |  | Difficult to convince attendants of the patient to wait until stable reading is taken by pulse oximeter | 3 | 1.633
| 22 | Idea on importance |  |  | Attendants of the patient are not aware of the importance of using pulse oximetry | 4.2 | 1.0328
Environmental problem | 23 | Lack of space |  |  | Difficult to accommodate pulse oximeter along with other logistics and instruments required to provide IMCI service in a single table | 3.3 | 1.6364
| 24 | Excessive pressure |  |  | High patient load in the IMCI service corners which requires fast patient management | 4.8 | 0.42164
| 25 | Social Distancing |  |  | Fear of getting infected by Coronavirus during the use of pulse oximeters as social distancing cannot be maintained during measurements | 4.7 | 0.48305
Service problem | 26 | Less Confident |  |  | Sometimes I have less confidence in using pulse oximeter | 1.6 | 0.69921
| 27 | Importance of use |  |  | I don’t think using pulse oximeter in IMCI corner is important | 1.7 | 1.2517
| 28 | Time |  |  | I don’t want to wait for a stable reading | 2 | 1.1547
| 29 | Attention to patient |  |  | I cannot pay proper attention to my patient when I am working with Pulse Oximeter | 3.3 | 1.7029

## sex_male
Male
Types | Question no | Main Concepts | Column1 | Column2 | Question | Mean | Standard deviation (SD)
Pulse Oximeter | 1 | Hard Probe |  |  | The probes are hard for children | 1.8 | 1.2293
| 2 | Size of probe |  |  | The probes are not of accurate size for all children | 3.4 | 1.7127
| 3 | Longer time |  |  | The pulse oximeters take longer time to give stable reading | 3.7 | 1.4181
| 4 | Wrong reading |  |  | The pulse oximeters sometimes produce wrong reading | 2.2 | 1.6193
| 5 | Cleaning |  |  | Difficult to clean the pulse oximeter every time before using on other children | 3 | 1.6997
| 6 | Maintenance |  |  | Maintenance of pulse oximeter is difficult | 2.3 | 1.7029
| 7 | security |  |  | Ensuring the security of the pulse oximeter is challenging | 2.3 | 1.7029
| 8 | Battery |  |  | Battery of Pulse Oximeter does not last long | 4.2 | 0.91894
Training section | 9 | Less theoretical sessions |  |  | Less theoretical sessions were conducted on the use of pulse oximetry during the training | 2.7 | 1.4944
| 10 | Less practical sessions |  |  | Less practical sessions were conducted on the use of pulse oximetry during the training | 3.2 | 1.4757
| 11 | Practical sessions on adults |  |  | Practical sessions were conducted on adults during the training | 2.3 | 1.4944
| 12 | Importance of using Pulse Oximeter |  |  | The importance of using Pulse Oximeter was not emphasized during the training | 1.5 | 0.52705
| 13 | User guideline |  |  | No user guideline was provided during the training on Pulse Oximeter | 2 | 1.4142
| 14 | Maintenance guideline |  |  | No guideline was provided during the training on maintenance of Pulse Oximeter | 1.9 | 1.4491
| 15 | Acceptable reading in case of taking multiple reading |  |  | No guideline was provided during the training on which reading should have taken in case of taking multiple reading | 2.5 | 1.5811
| 16 | Not sure on whom to use |  |  | I am not sure on whom to use pulse oximeter | 1.1 | 0.31623
Patient problem | 17 | Children crying and frequent moving |  |  | Children crying and moving frequently causing repeated use of pulse oximeter on a single child | 4.2 | 1.2293
| 18 | Unclean finger/toe |  |  | Sometimes children have unclean finger/toe | 4.1 | 1.1972
| 19 | Extensive time required to calm down children |  |  | Extensive time required to calm down children before using pulse oximeters | 3.9 | 1.1972
| 20 | Difficult to use alone |  |  | Difficult to manage children for using pulse oximeter by a single service provider | 4.3 | 1.2517
Attendent problem | 21 | Waiting |  |  | Difficult to convince attendants of the patient to wait until stable reading is taken by pulse oximeter | 2.7 | 1.8288
| 22 | Idea on importance |  |  | Attendants of the patient are not aware of the importance of using pulse oximetry | 3.4 | 1.7764
Environmental problem | 23 | Lack of space |  |  | Difficult to accommodate pulse oximeter along with other logistics and instruments required to provide IMCI service in a single table | 3.4 | 1.5055
| 24 | Excessive pressure |  |  | High patient load in the IMCI service corners which requires fast patient management | 4.7 | 0.48305
| 25 | Social Distancing |  |  | Fear of getting infected by Coronavirus during the use of pulse oximeters as social distancing cannot be maintained during measurements | 4.9 | 0.31623
Service problem | 26 | Less Confident |  |  | Sometimes I have less confidence in using pulse oximeter | 1.5 | 0.84984
| 27 | Importance of use |  |  | I don’t think using pulse oximeter in IMCI corner is important | 1.5 | 1.2693
| 28 | Time |  |  | I don’t want to wait for a stable reading | 1.7 | 1.2517
| 29 | Attention to patient |  |  | I cannot pay proper attention to my patient when I am working with Pulse Oximeter | 2.5 | 1.8409

## sex_female
Female
Types | Question no | Main Concepts | Column1 | Column2 | Question | Mean | Standard deviation (SD)
Pulse Oximeter | 1 | Hard Probe |  |  | The probes are hard for children | 2 | 1.2792
| 2 | Size of probe |  |  | The probes are not of accurate size for all children | 3.0833 | 1.5643
| 3 | Longer time |  |  | The pulse oximeters take longer time to give stable reading | 2.75 | 1.2154
| 4 | Wrong reading |  |  | The pulse oximeters sometimes produce wrong reading | 2.6667 | 1.3027
| 5 | Cleaning |  |  | Difficult to clean the pulse oximeter every time before using on other children | 2.4167 | 1.3114
| 6 | Maintenance |  |  | Maintenance of pulse oximeter is difficult | 2.25 | 1.3568
| 7 | security |  |  | Ensuring the security of the pulse oximeter is challenging | 2.1667 | 1.4035
| 8 | Battery |  |  | Battery of Pulse Oximeter does not last long | 3.5 | 1.1677
Training section | 9 | Less theoretical sessions |  |  | Less theoretical sessions were conducted on the use of pulse oximetry during the training | 1.9167 | 0.79296
| 10 | Less practical sessions |  |  | Less practical sessions were conducted on the use of pulse oximetry during the training | 1.8333 | 0.83485
| 11 | Practical sessions on adults |  |  | Practical sessions were conducted on adults during the training | 2.6667 | 1.4355
| 12 | Importance of using Pulse Oximeter |  |  | The importance of using Pulse Oximeter was not emphasized during the training | 1.8333 | 0.83485
| 13 | User guideline |  |  | No user guideline was provided during the training on Pulse Oximeter | 1.9167 | 0.79296
| 14 | Maintenance guideline |  |  | No guideline was provided during the training on maintenance of Pulse Oximeter | 2 | 1.0445
| 15 | Acceptable reading in case of taking multiple reading |  |  | No guideline was provided during the training on which reading should have taken in case of taking multiple reading | 2.5 | 1.3817
| 16 | Not sure on whom to use |  |  | I am not sure on whom to use pulse oximeter | 2.3333 | 1.557
Patient problem | 17 | Children crying and frequent moving |  |  | Children crying and moving frequently causing repeated use of pulse oximeter on a single child | 4.1667 | 0.83485
| 18 | Unclean finger/toe |  |  | Sometimes children have unclean finger/toe | 3.9167 | 0.79296
| 19 | Extensive time required to calm down children |  |  | Extensive time required to calm down children before using pulse oximeters | 4.25 | 0.86603
| 20 | Difficult to use alone |  |  | Difficult to manage children for using pulse oximeter by a single service provider | 3.75 | 1.3568
Attendent problem | 21 | Waiting |  |  | Difficult to convince attendants of the patient to wait until stable reading is taken by pulse oximeter | 2.4167 | 1.3114
| 22 | Idea on importance |  |  | Attendants of the patient are not aware of the importance of using pulse oximetry | 3.1667 | 1.4035
Environmental problem | 23 | Lack of space |  |  | Difficult to accommodate pulse oximeter along with other logistics and instruments required to provide IMCI service in a single table | 2.9167 | 1.2401
| 24 | Excessive pressure |  |  | High patient load in the IMCI service corners which requires fast patient management | 4 | 1.2792
| 25 | Social Distancing |  |  | Fear of getting infected by Coronavirus during the use of pulse oximeters as social distancing cannot be maintained during measurements | 3.8333 | 1.4035
Service problem | 26 | Less Confident |  |  | Sometimes I have less confidence in using pulse oximeter | 1.9167 | 0.90034
| 27 | Importance of use |  |  | I don’t think using pulse oximeter in IMCI corner is important | 1.6667 | 0.88763
| 28 | Time |  |  | I don’t want to wait for a stable reading | 1.9167 | 1.0836
| 29 | Attention to patient |  |  | I cannot pay proper attention to my patient when I am working with Pulse Oximeter | 2.5 | 1.446

## Scamo
Scamo
Types | Question no | Main Concepts | Column1 | Column2 | Question | Mean | Standard deviation (SD)
Pulse Oximeter | 1 | Hard Probe |  |  | The probes are hard for children | 1.5833 | 1.1645
| 2 | Size of probe |  |  | The probes are not of accurate size for all children | 3 | 1.6514
| 3 | Longer time |  |  | The pulse oximeters take longer time to give stable reading | 3.1667 | 1.4668
| 4 | Wrong reading |  |  | The pulse oximeters sometimes produce wrong reading | 2.1667 | 1.5859
| 5 | Cleaning |  |  | Difficult to clean the pulse oximeter every time before using on other children | 2.75 | 1.4848
| 6 | Maintenance |  |  | Maintenance of pulse oximeter is difficult | 2.25 | 1.7123
| 7 | security |  |  | Ensuring the security of the pulse oximeter is challenging | 2.25 | 1.7123
| 8 | Battery |  |  | Battery of Pulse Oximeter does not last long | 4.25 | 0.86603
Training section | 9 | Less theoretical sessions |  |  | Less theoretical sessions were conducted on the use of pulse oximetry during the training | 2.3333 | 1.3707
| 10 | Less practical sessions |  |  | Less practical sessions were conducted on the use of pulse oximetry during the training | 2.75 | 1.4848
| 11 | Practical sessions on adults |  |  | Practical sessions were conducted on adults during the training | 2.3333 | 1.4975
| 12 | Importance of using Pulse Oximeter |  |  | The importance of using Pulse Oximeter was not emphasized during the training | 1.5833 | 0.51493
| 13 | User guideline |  |  | No user guideline was provided during the training on Pulse Oximeter | 2 | 1.2792
| 14 | Maintenance guideline |  |  | No guideline was provided during the training on maintenance of Pulse Oximeter | 1.8333 | 1.3371
| 15 | Acceptable reading in case of taking multiple reading |  |  | No guideline was provided during the training on which reading should have taken in case of taking multiple reading | 2.3333 | 1.4975
| 16 | Not sure on whom to use |  |  | I am not sure on whom to use pulse oximeter | 1.4167 | 1.1645
Patient problem | 17 | Children crying and frequent moving |  |  | Children crying and moving frequently causing repeated use of pulse oximeter on a single child | 4.25 | 1.1382
| 18 | Unclean finger/toe |  |  | Sometimes children have unclean finger/toe | 4.1667 | 1.1146
| 19 | Extensive time required to calm down children |  |  | Extensive time required to calm down children before using pulse oximeters | 4.1667 | 1.1934
| 20 | Difficult to use alone |  |  | Difficult to manage children for using pulse oximeter by a single service provider | 4.1667 | 1.1146
Attendent problem | 21 | Waiting |  |  | Difficult to convince attendants of the patient to wait until stable reading is taken by pulse oximeter | 2.25 | 1.7123
| 22 | Idea on importance |  |  | Attendants of the patient are not aware of the importance of using pulse oximetry | 3.3333 | 1.7233
Environmental problem | 23 | Lack of space |  |  | Difficult to accommodate pulse oximeter along with other logistics and instruments required to provide IMCI service in a single table | 3.25 | 1.6026
| 24 | Excessive pressure |  |  | High patient load in the IMCI service corners which requires fast patient management | 4.5 | 0.90453
| 25 | Social Distancing |  |  | Fear of getting infected by Coronavirus during the use of pulse oximeters as social distancing cannot be maintained during measurements | 4.8333 | 0.38925
Service problem | 26 | Less Confident |  |  | Sometimes I have less confidence in using pulse oximeter | 1.5 | 1
| 27 | Importance of use |  |  | I don’t think using pulse oximeter in IMCI corner is important | 1.4167 | 1.1645
| 28 | Time |  |  | I don’t want to wait for a stable reading | 1.6667 | 1.1547
| 29 | Attention to patient |  |  | I cannot pay proper attention to my patient when I am working with Pulse Oximeter | 2.6667 | 1.8257

## SSN
SSN
Types | Question no | Main Concepts | Column1 | Column2 | Question | Mean | Standard deviation (SD)
Pulse Oximeter | 1 | Hard Probe |  |  | The probes are hard for children | 2.2 | 1.6432
| 2 | Size of probe |  |  | The probes are not of accurate size for all children | 2.6 | 1.8166
| 3 | Longer time |  |  | The pulse oximeters take longer time to give stable reading | 3 | 1.4142
| 4 | Wrong reading |  |  | The pulse oximeters sometimes produce wrong reading | 2.4 | 1.5166
| 5 | Cleaning |  |  | Difficult to clean the pulse oximeter every time before using on other children | 1.4 | 0.89443
| 6 | Maintenance |  |  | Maintenance of pulse oximeter is difficult | 2.6 | 1.8166
| 7 | security |  |  | Ensuring the security of the pulse oximeter is challenging | 2.4 | 1.9494
| 8 | Battery |  |  | Battery of Pulse Oximeter does not last long | 3.8 | 1.0954
Training section | 9 | Less theoretical sessions |  |  | Less theoretical sessions were conducted on the use of pulse oximetry during the training | 2 | 1.2247
| 10 | Less practical sessions |  |  | Less practical sessions were conducted on the use of pulse oximetry during the training | 1.4 | 0.54772
| 11 | Practical sessions on adults |  |  | Practical sessions were conducted on adults during the training | 2.2 | 1.6432
| 12 | Importance of using Pulse Oximeter |  |  | The importance of using Pulse Oximeter was not emphasized during the training | 1.8 | 1.3038
| 13 | User guideline |  |  | No user guideline was provided during the training on Pulse Oximeter | 2.2 | 1.0954
| 14 | Maintenance guideline |  |  | No guideline was provided during the training on maintenance of Pulse Oximeter | 2 | 1.2247
| 15 | Acceptable reading in case of taking multiple reading |  |  | No guideline was provided during the training on which reading should have taken in case of taking multiple reading | 2.6 | 1.8166
| 16 | Not sure on whom to use |  |  | I am not sure on whom to use pulse oximeter | 2.8 | 1.7889
Patient problem | 17 | Children crying and frequent moving |  |  | Children crying and moving frequently causing repeated use of pulse oximeter on a single child | 4 | 1.2247
| 18 | Unclean finger/toe |  |  | Sometimes children have unclean finger/toe | 3.8 | 1.0954
| 19 | Extensive time required to calm down children |  |  | Extensive time required to calm down children before using pulse oximeters | 4 | 1.2247
| 20 | Difficult to use alone |  |  | Difficult to manage children for using pulse oximeter by a single service provider | 3.2 | 2.0494
Attendent problem | 21 | Waiting |  |  | Difficult to convince attendants of the patient to wait until stable reading is taken by pulse oximeter | 2.6 | 1.5166
| 22 | Idea on importance |  |  | Attendants of the patient are not aware of the importance of using pulse oximetry | 3 | 1.8708
Environmental problem | 23 | Lack of space |  |  | Difficult to accommodate pulse oximeter along with other logistics and instruments required to provide IMCI service in a single table | 2.8 | 1.0954
| 24 | Excessive pressure |  |  | High patient load in the IMCI service corners which requires fast patient management | 3.8 | 1.6432
| 25 | Social Distancing |  |  | Fear of getting infected by Coronavirus during the use of pulse oximeters as social distancing cannot be maintained during measurements | 3.2 | 2.0494
Service problem | 26 | Less Confident |  |  | Sometimes I have less confidence in using pulse oximeter | 1.8 | 0.83666
| 27 | Importance of use |  |  | I don’t think using pulse oximeter in IMCI corner is important | 1.8 | 1.3038
| 28 | Time |  |  | I don’t want to wait for a stable reading | 2.2 | 1.6432
| 29 | Attention to patient |  |  | I cannot pay proper attention to my patient when I am working with Pulse Oximeter | 2.4 | 1.6733

## MO
Mo
Types | Question no | Main Concepts | Column1 | Column2 | Question | Mean | Standard deviation (SD)
Pulse Oximeter | 1 | Hard Probe |  |  | The probes are hard for children | 2.4 | 0.89443
| 2 | Size of probe |  |  | The probes are not of accurate size for all children | 4.4 | 0.54772
| 3 | Longer time |  |  | The pulse oximeters take longer time to give stable reading | 3.4 | 1.3416
| 4 | Wrong reading |  |  | The pulse oximeters sometimes produce wrong reading | 3.2 | 0.83666
| 5 | Cleaning |  |  | Difficult to clean the pulse oximeter every time before using on other children | 3.8 | 1.0954
| 6 | Maintenance |  |  | Maintenance of pulse oximeter is difficult | 2 | 0
| 7 | security |  |  | Ensuring the security of the pulse oximeter is challenging | 2 | 0
| 8 | Battery |  |  | Battery of Pulse Oximeter does not last long | 2.8 | 1.0954
Training section | 9 | Less theoretical sessions |  |  | Less theoretical sessions were conducted on the use of pulse oximetry during the training | 2.4 | 0.89443
| 10 | Less practical sessions |  |  | Less practical sessions were conducted on the use of pulse oximetry during the training | 2.8 | 1.0954
| 11 | Practical sessions on adults |  |  | Practical sessions were conducted on adults during the training | 3.2 | 1.0954
| 12 | Importance of using Pulse Oximeter |  |  | The importance of using Pulse Oximeter was not emphasized during the training | 1.8 | 0.44721
| 13 | User guideline |  |  | No user guideline was provided during the training on Pulse Oximeter | 1.6 | 0.54772
| 14 | Maintenance guideline |  |  | No guideline was provided during the training on maintenance of Pulse Oximeter | 2.2 | 1.0954
| 15 | Acceptable reading in case of taking multiple reading |  |  | No guideline was provided during the training on which reading should have taken in case of taking multiple reading | 2.8 | 1.0954
| 16 | Not sure on whom to use |  |  | I am not sure on whom to use pulse oximeter | 1.6 | 0.54772
Patient problem | 17 | Children crying and frequent moving |  |  | Children crying and moving frequently causing repeated use of pulse oximeter on a single child | 4.2 | 0.44721
| 18 | Unclean finger/toe |  |  | Sometimes children have unclean finger/toe | 3.8 | 0.44721
| 19 | Extensive time required to calm down children |  |  | Extensive time required to calm down children before using pulse oximeters | 4 | 0
| 20 | Difficult to use alone |  |  | Difficult to manage children for using pulse oximeter by a single service provider | 4.4 | 0.54772
Attendent problem | 21 | Waiting |  |  | Difficult to convince attendants of the patient to wait until stable reading is taken by pulse oximeter | 3.2 | 1.0954
| 22 | Idea on importance |  |  | Attendants of the patient are not aware of the importance of using pulse oximetry | 3.4 | 0.89443
Environmental problem | 23 | Lack of space |  |  | Difficult to accommodate pulse oximeter along with other logistics and instruments required to provide IMCI service in a single table | 3.2 | 1.0954
| 24 | Excessive pressure |  |  | High patient load in the IMCI service corners which requires fast patient management | 4.4 | 0.54772
| 25 | Social Distancing |  |  | Fear of getting infected by Coronavirus during the use of pulse oximeters as social distancing cannot be maintained during measurements | 4.2 | 0.44721
Service problem | 26 | Less Confident |  |  | Sometimes I have less confidence in using pulse oximeter | 2.2 | 0.44721
| 27 | Importance of use |  |  | I don’t think using pulse oximeter in IMCI corner is important | 1.8 | 0.44721
| 28 | Time |  |  | I don’t want to wait for a stable reading | 1.8 | 0.44721
| 29 | Attention to patient |  |  | I cannot pay proper attention to my patient when I am working with Pulse Oximeter | 2.2 | 1.0954

## UHC
UHC
Types | Question no | Main Concepts | Column1 | Column2 | Question | Mean | Standard deviation (SD)
Pulse Oximeter | 1 | Hard Probe |  |  | The probes are hard for children | 2.1538 | 1.3445
| 2 | Size of probe |  |  | The probes are not of accurate size for all children | 3.1538 | 1.6756
| 3 | Longer time |  |  | The pulse oximeters take longer time to give stable reading | 3.6154 | 1.3253
| 4 | Wrong reading |  |  | The pulse oximeters sometimes produce wrong reading | 2.6154 | 1.5021
| 5 | Cleaning |  |  | Difficult to clean the pulse oximeter every time before using on other children | 2.5385 | 1.6641
| 6 | Maintenance |  |  | Maintenance of pulse oximeter is difficult | 2.2308 | 1.4806
| 7 | security |  |  | Ensuring the security of the pulse oximeter is challenging | 2.1538 | 1.5191
| 8 | Battery |  |  | Battery of Pulse Oximeter does not last long | 3.6154 | 1.1929
Training section | 9 | Less theoretical sessions |  |  | Less theoretical sessions were conducted on the use of pulse oximetry during the training | 2.3077 | 1.1094
| 10 | Less practical sessions |  |  | Less practical sessions were conducted on the use of pulse oximetry during the training | 2.4615 | 1.2659
| 11 | Practical sessions on adults |  |  | Practical sessions were conducted on adults during the training | 2.3077 | 1.4367
| 12 | Importance of using Pulse Oximeter |  |  | The importance of using Pulse Oximeter was not emphasized during the training | 1.6923 | 0.85485
| 13 | User guideline |  |  | No user guideline was provided during the training on Pulse Oximeter | 1.9231 | 1.0377
| 14 | Maintenance guideline |  |  | No guideline was provided during the training on maintenance of Pulse Oximeter | 2 | 1.2247
| 15 | Acceptable reading in case of taking multiple reading |  |  | No guideline was provided during the training on which reading should have taken in case of taking multiple reading | 2.5385 | 1.45
| 16 | Not sure on whom to use |  |  | I am not sure on whom to use pulse oximeter | 1.6154 | 1.1929
Patient problem | 17 | Children crying and frequent moving |  |  | Children crying and moving frequently causing repeated use of pulse oximeter on a single child | 4.2308 | 0.83205
| 18 | Unclean finger/toe |  |  | Sometimes children have unclean finger/toe | 4 | 0.8165
| 19 | Extensive time required to calm down children |  |  | Extensive time required to calm down children before using pulse oximeters | 4.1538 | 0.80064
| 20 | Difficult to use alone |  |  | Difficult to manage children for using pulse oximeter by a single service provider | 4 | 1.4142
Attendent problem | 21 | Waiting |  |  | Difficult to convince attendants of the patient to wait until stable reading is taken by pulse oximeter | 2.7692 | 1.6408
| 22 | Idea on importance |  |  | Attendants of the patient are not aware of the importance of using pulse oximetry | 3.1538 | 1.6251
Environmental problem | 23 | Lack of space |  |  | Difficult to accommodate pulse oximeter along with other logistics and instruments required to provide IMCI service in a single table | 3.0769 | 1.2558
| 24 | Excessive pressure |  |  | High patient load in the IMCI service corners which requires fast patient management | 4.3077 | 1.1094
| 25 | Social Distancing |  |  | Fear of getting infected by Coronavirus during the use of pulse oximeters as social distancing cannot be maintained during measurements | 4.1538 | 1.4632
Service problem | 26 | Less Confident |  |  | Sometimes I have less confidence in using pulse oximeter | 1.7692 | 0.83205
| 27 | Importance of use |  |  | I don’t think using pulse oximeter in IMCI corner is important | 1.4615 | 0.87706
| 28 | Time |  |  | I don’t want to wait for a stable reading | 1.6923 | 1.1094
| 29 | Attention to patient |  |  | I cannot pay proper attention to my patient when I am working with Pulse Oximeter | 2.3077 | 1.5484

## USC
USC
Types | Question no | Main Concepts | Column1 | Column2 | Question | Mean | Standard deviation (SD)
Pulse Oximeter | 1 | Hard Probe |  |  | The probes are hard for children | 1 | 0
| 2 | Size of probe |  |  | The probes are not of accurate size for all children | 3 | 1.8974
| 3 | Longer time |  |  | The pulse oximeters take longer time to give stable reading | 2.5 | 1.3784
| 4 | Wrong reading |  |  | The pulse oximeters sometimes produce wrong reading | 2 | 1.5492
| 5 | Cleaning |  |  | Difficult to clean the pulse oximeter every time before using on other children | 2.5 | 1.3784
| 6 | Maintenance |  |  | Maintenance of pulse oximeter is difficult | 1.8333 | 1.6021
| 7 | security |  |  | Ensuring the security of the pulse oximeter is challenging | 1.8333 | 1.6021
| 8 | Battery |  |  | Battery of Pulse Oximeter does not last long | 4.5 | 0.54772
Training section | 9 | Less theoretical sessions |  |  | Less theoretical sessions were conducted on the use of pulse oximetry during the training | 2 | 1.5492
| 10 | Less practical sessions |  |  | Less practical sessions were conducted on the use of pulse oximetry during the training | 2.6667 | 1.8619
| 11 | Practical sessions on adults |  |  | Practical sessions were conducted on adults during the training | 3.1667 | 1.7224
| 12 | Importance of using Pulse Oximeter |  |  | The importance of using Pulse Oximeter was not emphasized during the training | 1.5 | 0.54772
| 13 | User guideline |  |  | No user guideline was provided during the training on Pulse Oximeter | 2 | 1.5492
| 14 | Maintenance guideline |  |  | No guideline was provided during the training on maintenance of Pulse Oximeter | 1.8333 | 1.6021
| 15 | Acceptable reading in case of taking multiple reading |  |  | No guideline was provided during the training on which reading should have taken in case of taking multiple reading | 2.3333 | 1.7512
| 16 | Not sure on whom to use |  |  | I am not sure on whom to use pulse oximeter | 1.6667 | 1.633
Patient problem | 17 | Children crying and frequent moving |  |  | Children crying and moving frequently causing repeated use of pulse oximeter on a single child | 4.1667 | 1.6021
| 18 | Unclean finger/toe |  |  | Sometimes children have unclean finger/toe | 4 | 1.5492
| 19 | Extensive time required to calm down children |  |  | Extensive time required to calm down children before using pulse oximeters | 4 | 1.6733
| 20 | Difficult to use alone |  |  | Difficult to manage children for using pulse oximeter by a single service provider | 4 | 1.5492
Attendent problem | 21 | Waiting |  |  | Difficult to convince attendants of the patient to wait until stable reading is taken by pulse oximeter | 2 | 1.5492
| 22 | Idea on importance |  |  | Attendants of the patient are not aware of the importance of using pulse oximetry | 3.5 | 1.7607
Environmental problem | 23 | Lack of space |  |  | Difficult to accommodate pulse oximeter along with other logistics and instruments required to provide IMCI service in a single table | 3 | 1.8974
| 24 | Excessive pressure |  |  | High patient load in the IMCI service corners which requires fast patient management | 4.8333 | 0.40825
| 25 | Social Distancing |  |  | Fear of getting infected by Coronavirus during the use of pulse oximeters as social distancing cannot be maintained during measurements | 4.8333 | 0.40825
Service problem | 26 | Less Confident |  |  | Sometimes I have less confidence in using pulse oximeter | 1.1667 | 0.40825
| 27 | Importance of use |  |  | I don’t think using pulse oximeter in IMCI corner is important | 1.6667 | 1.633
| 28 | Time |  |  | I don’t want to wait for a stable reading | 2 | 1.5492
| 29 | Attention to patient |  |  | I cannot pay proper attention to my patient when I am working with Pulse Oximeter | 3.1667 | 2.0412

## DH
DH
Types | Question no | Main Concepts | Column1 | Column2 | Question | Mean | Standard deviation (SD)
Pulse Oximeter | 1 | Hard Probe |  |  | The probes are hard for children | 2.6667 | 1.1547
| 2 | Size of probe |  |  | The probes are not of accurate size for all children | 4 | 0
| 3 | Longer time |  |  | The pulse oximeters take longer time to give stable reading | 2.6667 | 1.1547
| 4 | Wrong reading |  |  | The pulse oximeters sometimes produce wrong reading | 2.6667 | 1.1547
| 5 | Cleaning |  |  | Difficult to clean the pulse oximeter every time before using on other children | 3.6667 | 0.57735
| 6 | Maintenance |  |  | Maintenance of pulse oximeter is difficult | 3.3333 | 1.1547
| 7 | security |  |  | Ensuring the security of the pulse oximeter is challenging | 3.3333 | 1.1547
| 8 | Battery |  |  | Battery of Pulse Oximeter does not last long | 3.3333 | 1.1547
Training section | 9 | Less theoretical sessions |  |  | Less theoretical sessions were conducted on the use of pulse oximetry during the training | 2.6667 | 1.1547
| 10 | Less practical sessions |  |  | Less practical sessions were conducted on the use of pulse oximetry during the training | 2 | 0
| 11 | Practical sessions on adults |  |  | Practical sessions were conducted on adults during the training | 2 | 0
| 12 | Importance of using Pulse Oximeter |  |  | The importance of using Pulse Oximeter was not emphasized during the training | 2 | 0
| 13 | User guideline |  |  | No user guideline was provided during the training on Pulse Oximeter | 2 | 0
| 14 | Maintenance guideline |  |  | No guideline was provided during the training on maintenance of Pulse Oximeter | 2 | 0
| 15 | Acceptable reading in case of taking multiple reading |  |  | No guideline was provided during the training on which reading should have taken in case of taking multiple reading | 2.6667 | 1.1547
| 16 | Not sure on whom to use |  |  | I am not sure on whom to use pulse oximeter | 2.6667 | 1.1547
Patient problem | 17 | Children crying and frequent moving |  |  | Children crying and moving frequently causing repeated use of pulse oximeter on a single child | 4 | 0
| 18 | Unclean finger/toe |  |  | Sometimes children have unclean finger/toe | 4 | 0
| 19 | Extensive time required to calm down children |  |  | Extensive time required to calm down children before using pulse oximeters | 4 | 0
| 20 | Difficult to use alone |  |  | Difficult to manage children for using pulse oximeter by a single service provider | 4 | 0
Attendent problem | 21 | Waiting |  |  | Difficult to convince attendants of the patient to wait until stable reading is taken by pulse oximeter | 2.6667 | 1.1547
| 22 | Idea on importance |  |  | Attendants of the patient are not aware of the importance of using pulse oximetry | 3.3333 | 1.1547
Environmental problem | 23 | Lack of space |  |  | Difficult to accommodate pulse oximeter along with other logistics and instruments required to provide IMCI service in a single table | 3.6667 | 0.57735
| 24 | Excessive pressure |  |  | High patient load in the IMCI service corners which requires fast patient management | 3.3333 | 1.1547
| 25 | Social Distancing |  |  | Fear of getting infected by Coronavirus during the use of pulse oximeters as social distancing cannot be maintained during measurements | 4 | 0
Service problem | 26 | Less Confident |  |  | Sometimes I have less confidence in using pulse oximeter | 2.6667 | 1.1547
| 27 | Importance of use |  |  | I don’t think using pulse oximeter in IMCI corner is important | 2 | 0
| 28 | Time |  |  | I don’t want to wait for a stable reading | 2 | 0
| 29 | Attention to patient |  |  | I cannot pay proper attention to my patient when I am working with Pulse Oximeter | 2 | 0