## Sheet1
Types | Question no | Main Concepts | Column1 | Column2 | Question | Mean | Standard deviation (SD)
Pulse Oximeter | 1 | Hard Probe |  |  | The probes are hard for children | 1.9091 | 1.2309
| 2 | Size of probe |  |  | The probes are not of accurate size for all children | 3.2273 | 1.6015
| 3 | Longer time |  |  | The pulse oximeters take longer time to give stable reading | 3.1818 | 1.3675
| 4 | Wrong reading |  |  | The pulse oximeters sometimes produce wrong reading | 2.4545 | 1.4385
| 5 | Cleaning |  |  | Difficult to clean the pulse oximeter every time before using on other children | 2.6818 | 1.4924
| 6 | Maintenance |  |  | Maintenance of pulse oximeter is difficult | 2.2727 | 1.4859
| 7 | security |  |  | Ensuring the security of the pulse oximeter is challenging | 2.2273 | 1.5097
| 8 | Battery |  |  | Battery of Pulse Oximeter does not last long | 3.8182 | 1.097
Training section | 9 | Less theoretical sessions |  |  | Less theoretical sessions were conducted on the use of pulse oximetry during the training | 2.2727 | 1.2025
| 10 | Less practical sessions |  |  | Less practical sessions were conducted on the use of pulse oximetry during the training | 2.4545 | 1.3355
| 11 | Practical sessions on adults |  |  | Practical sessions were conducted on adults during the training | 2.5 | 1.4392
| 12 | Importance of using Pulse Oximeter |  |  | The importance of using Pulse Oximeter was not emphasized during the training | 1.6818 | 0.71623
| 13 | User guideline |  |  | No user guideline was provided during the training on Pulse Oximeter | 1.9545 | 1.0901
| 14 | Maintenance guideline |  |  | No guideline was provided during the training on maintenance of Pulse Oximeter | 1.9545 | 1.2141
| 15 | Acceptable reading in case of taking multiple reading |  |  | No guideline was provided during the training on which reading should have taken in case of taking multiple reading | 2.5 | 1.4392
| 16 | Not sure on whom to use |  |  | I am not sure on whom to use pulse oximeter | 1.7727 | 1.3068
Patient problem | 17 | Children crying and frequent moving |  |  | Children crying and moving frequently causing repeated use of pulse oximeter on a single child | 4.1818 | 1.0065
| 18 | Unclean finger/toe |  |  | Sometimes children have unclean finger/toe | 4 | 0.9759
| 19 | Extensive time required to calm down children |  |  | Extensive time required to calm down children before using pulse oximeters | 4.0909 | 1.0193
| 20 | Difficult to use alone |  |  | Difficult to manage children for using pulse oximeter by a single service provider | 4 | 1.3093
Attendent problem | 21 | Waiting |  |  | Difficult to convince attendants of the patient to wait until stable reading is taken by pulse oximeter | 2.5455 | 1.5346
| 22 | Idea on importance |  |  | Attendants of the patient are not aware of the importance of using pulse oximetry | 3.2727 | 1.5486
Environmental problem | 23 | Lack of space |  |  | Difficult to accommodate pulse oximeter along with other logistics and instruments required to provide IMCI service in a single table | 3.1364 | 1.3556
| 24 | Excessive pressure |  |  | High patient load in the IMCI service corners which requires fast patient management | 4.3182 | 1.0414
| 25 | Social Distancing |  |  | Fear of getting infected by Coronavirus during the use of pulse oximeters as social distancing cannot be maintained during measurements | 4.3182 | 1.1705
Service problem | 26 | Less Confident |  |  | Sometimes I have less confidence in using pulse oximeter | 1.7273 | 0.88273
| 27 | Importance of use |  |  | I don’t think using pulse oximeter in IMCI corner is important | 1.5909 | 1.0538
| 28 | Time |  |  | I don’t want to wait for a stable reading | 1.8182 | 1.1396
| 29 | Attention to patient |  |  | I cannot pay proper attention to my patient when I am working with Pulse Oximeter | 2.5 | 1.5961